

10/MAR/2021

****

**SwitcheOn – 4 channel – 20 amp**

**Low-cost LTE-M Switch with 4 channels (outlets) and a 20 amp (2400 watt) maximum capacity.**

**FEATURES**

**LTE-M Remote power switching**

* + Switch 4 Channels (Outlets)
	+ Up to 20 amps (2400 watts)
	+ Automatic recovery after power failure

**Monitoring**

* + Ambient temperature sensor
	+ Available additional analog/sensor inputs

**Bright OLED display**

* + Local and ZULU time
	+ Cellular Signal status
	+ Power/port status
	+ Ambient Temperature

[**Mobile apps for Android and iOS**](https://preheatremote.com/product/app-switcheon/)

**1st-year service included**

* Renews for $50/year on app

**Automations for each channel**

* + On at Ambient temperature
	+ Off at Ambient temperature
	+ On at time
	+ Off at time

**Verizon cell tower based service**

* + Uses LTE-M and NB-IoT bands deployed as part of 5G rollouts
	+ Newest band type will have long term availability for future
	+ Operates much further from cellular towers than normal 3G or 4G

**Warranted as long as service is maintained**

**SPECIFICATIONS**

► Operating Voltage: 100-130 VAC @ 50 or 60 Hz

► Current Protection: 20 Amp Capacity main integrated fuse.

► Switching Power: Combined 2400-Watt over 4 Channels. Each channel can have a max of 1800 watts (15 amps)

► Power entry: hard wired 12 AWG (approximately 30 inch), NEMA 5-20P plug Note: Unit can be adapted with P6050 adaptor that de-rates the unit to your hanger’s power capabilities.

► Power outlets: hard wired 14 AWG (approximately 15 inch), NEMA 5-15R receptacle

► Shipped Dimensions: Length: 18.0 in (45.7 cm)

Width: 9.0 in (22.9 cm)

 Height: 3 in (7.7 cm)

► Shipped Weight: 4.0 lbs (1.8 kg)

► General Construction: Plastic box

► Antenna: Standard SMA Data, Note: External SMA jack for easy change-over to remote antenna P6045.

► Temperature Range: -40° to 120° F (-40° to 49° C)

► Part number: P6062

**What comes with a SwitcheOn**

* Ready to use unit
* Box with basic instructions printed to it
* 1 year of Verizon LTE-M service
* Downloadable - User manuals
* Free App (check your app store)

**www.preheatremote.com**